## dismessi_out-of-stock products
REF. | DESCR_ITA | DESCR_ENG
AW433 | MOTORE 12V.60 HZ PER 440i | 12V-60HZ MOTOR FOR 440i
CD097A | INIETTORE 4.2 GPM PER BOMBOLA 42" | INJECTOR 4.2 GPM FOR PRESSURE VESSEL 42"
CD154 | CODULO 2" BSPT INOX AISI 316 | 2" SS BSPT ADAPTER
DE422 | HEAD SEAL P/N 10450 | GAC POSTFILTER CARTRIDGE FOR EMPTY COMPACT R.O ASSEMBLY
EA371 | THREE TURN LOCKING RING "E & P SERIES" 150 - 600 PSI P/N 20025 | THREE TURN LOCKING RING "E & P SERIES" 150 - 600 PSI P/N 20025
FV560MC-603 | VALV.FLECK 5600 AUT. FILTRO CRON. 12 GG 7 GPM CON MICROSWITCH WIRED | FLECK VALV. 5600 FILTER 12 DAYS 7 GPM MW
FV5810SC-001 | VALV. FLECK 5810 AUT. FILTRO SXT 15 GPM - ADAT. DISTRIB. 32 MM | FLECK VALV. 5810 SXT FILTER 158 GPM - 32 MM DISTRIB. ADAPTER
FV5810SC-002 | VALV.FLECK 5810/1610AUT. ADD.SXT #1 INJ BLFC 0.50 GPM-ADATT.DISTRIB.1,05 | FLECK VALV. 5810/1610 sxt #1 inj blfc 0.50 gpm - 1,05" DISTRIB. ADAPTER
FV5810SR-001 | VALV FLECK 5810/1610 AUT ADD SXT TURB 1.25" #1 INJ BLFC 0.50 GPM 1,05" | FLECK VALV. 5810/1610 sxt #1 inj blfc 0.50 gpm - 1,05" DISTRIB. ADAPTER
FV5810SR-002 | VALV FLECK 5810/1610 AUT ADD SXT TURB 1.25" #4 INJ BLFC 0.50 GPM 32 MM | FLECK VALV5810/1610 SXT 1.25" INT TURB #4 INJ BLFC 0.50 GPM 32 MM
FV5810XC-001 | VALV FLECK 5810/1610 AUT ADD XTR #1 INJ BLFC 0.50 GPM ADATT DIST 1,05" | FLECK VALV. 5810/1610 XTR #1 INJ BLFC 0.50 GPM 1.05" DISTRIB. ADAPTER
FV5810XC-002 | VALV FLECK 5810/1610 AUT ADD XTR #4 INJ BLFC 0.50 GPM ADATT DIST 32 MM | FLECK VALV. 5810/1610 XTR #4 INJ BLFC 0.50 GPM 32 MM DISTRIB. ADAPTER
FV5810XR-001 | VALV FLECK 5810/1610 AUT ADD XTR TURB 1.25" DF #1 INJ BLFC 0.50 GPM 1,05 | FLECK VALV 5810/1610 XTR 1.25" INTEGRAL TURB #1 INJ BLFC 0.50 GPM 1,05"
FV5810XR-002 | VALV FLECK 5810/1610 AUT ADD XTR TURB 1.25" DF #4 INJ BLFC 32 MM | FLECK VALV 5810/1610 XTR 1.25" INTEGRAL TURB #4 INJ BLFC 0.50 GPM 32 MM
FV5810XR-003 | VALV FLECK 5810/1610 AUT ADD XTR TURB 1.25" UF#0 INJ BLFC 0.50 GPM 1,05" | FLECK VALV 5810/1610 XTR 1.25" INTEGRAL TURB UF#0 INJ BLFC 0.50GPM 1,05"
FVA28385-1.2 | DLFC 3/4" BSP GOMITO 1.2 GPM PER VALVOLA 5810 | DLFC 3/4" BSP ELBOW 1.2 GPM FOR VALVE 5810
FVA28385-1.5 | DLFC 3/4" BSP GOMITO 1.5 GPM PER VALVOLA 5810 | DLFC 3/4" BSP ELBOW 1.5 GPM FOR VALVE 5810
FVA28385-2 | DLFC 3/4" BSP GOMITO 2 GPM PER VALVOLA 5810 | DLFC 3/4" BSP ELBOW 2 GPM FOR VALVE 5810
FVA28385-2.4 | DLFC 3/4" BSP GOMITO 2.4 GPM PER VALVOLA 5810 | DLFC 3/4" BSP ELBOW 2.4 GPM FOR VALVE 5810
FVA28385-3 | DLFC 3/4" BSP GOMITO 3 GPM PER VALVOLA 5810 | DLFC 3/4" BSP ELBOW 3 GPM FOR VALVE 5810
FVA28385-3.5 | DLFC 3/4" BSP GOMITO 3.5 GPM PER VALVOLA 5810 | DLFC 3/4" BSP ELBOW 3.5 GPM FOR VALVE 5810
FVA28385-4 | DLFC 3/4" BSP GOMITO 4 GPM PER VALVOLA 5810 | DLFC 3/4" BSP ELBOW 4 GPM FOR VALVE 5810
FVA28385-5 | DLFC 3/4" BSP GOMITO 5 GPM PER VALVOLA 5810 | DLFC 3/4" BSP ELBOW 5 GPM FOR VALVE 5810
FVA28422-6 | INJECTOR ASSEMBLY 1710/2910 #6C | INJECTOR ASSEMBLY 1710/2910 #6C
FVA28511-01 | DIFF. SUPERIORE 1,05" PER VALVOLA 5810 FILTRO | TOP DISTRIBUTOR 1,05" FOR 5810 FILTER VALVE
FVA61991-04 | KIT ATTACCO 1 1/4" BSP PER VALVOLA 5810 | CONNECTOR ASSY 1 1/4" BSP FOR 5810 VALVE
FVR14801-03C | INJ NOZZLE 1700/1710 3C YELLOW | INJ NOZZLE 1700/1710 3C YELLOW
FVR14802-03C | INJ THROAT 1700/1710 3C YELLOW | INJ THROAT 1700/1710 3C YELLOW
FVR18330 | METER COVER ASSY ELEC | METER COVER ASSY ELEC
FVR24510-20 | END PLUG ASSY 6665 UF GREEN | END PLUG ASSY 6665 UF GREEN
FVR25868 | DRIVE GEAR UPPER 9000 ASSY | DRIVE GEAR UPPER 9000 ASSY
FVR25870 | DRIVE GEAR LOWER 9000 ASSY | DRIVE GEAR LOWER 9000 ASSY
FVR61454-5 | INJ ASSY 1600 7700 # 5 | INJ ASSY 1600 7700 # 5
FVRBR14038 | COVER METER ASSY PLASTIC | COVER METER ASSY PLASTIC
H815B4 | MWG RO VESSEL FRP 8" SIDE-PORT 300 PSI 4EL 1D5D - 1" BSPT F | MWG RO VESSEL FRP 8" SIDE-PORT 300 PSI 4EL 1D5D - 1" BSPT F
H815B5 | MWG RO VESSEL FRP 8" SIDE-PORT 300 PSI 5EL 1D5D - 1" BSPT F | MWG RO VESSEL FRP 8" SIDE-PORT 300 PSI 5EL 1D5D - 1" BSPT F
RA071 | BIOSSIDO DI MANGANESE MTM CONF. DA 28.3 LT. | MTM BAG 28.3 LT.
RA214 | SACCO 25 KG CARB.MIN. NORIT GAC 1240 W | BAG 25 KG CARB.MIN. NORIT GAC 1240 W
V3002-A | WS1 DRIVE BRACKET ASY NO MOTOR | WS1 DRIVE BRACKET ASY NO MOTOR
V3053 | WS2 2-1/2” GROOVE LOCK CLAMP ASSEMBLY | WS2 2-1/2” GROOVE LOCK CLAMP ASSEMBLY
V3186AUS-OD | WS1 AC ADAPTER (TRANSFORMER) 240V-12V AUSTRALIAN (OUTDOOR) | WS1 AC POWER SUPPLY (TRANSFORMER) AUS 15 VOLT DC
V3290 | WS2 GROOVE LOCK SEAL 2 1/2” | WS2 GROOVE LOCK SEAL 2 1/2”
V3434-01 | WS1.5 REFILL ADAPTER ASSEMBLY (5/8” O.D. TUBE X 3/4” NPT MALE) | WS1.5 REFILL ADAPTER ASSEMBLY (5/8” O.D. TUBE X 3/4” NPT MALE)
V3461-01 | WS2H/3 AC 20V ADAPTER USA | WS2H/3 AC 20V ADAPTER USA
V-JCP-PG-10BLK | NUT 5/8” COMPRESSION | NUT 5/8” COMPRESSION